Addison Circle Park

Cursory Punch-list Inspection

12/22/03

Jim,

All items should be on original punch-lists.  If not, could they be added or would they become maintenance issues?  Some items are related to the repairs already initiated, or to conditions that have appeared after the punch-lists were generated.  Some items, I am sure may be on other people’s lists, but I just wanted to bring these to your attention, just in case they had been previously overlooked.  Thank you.

- Addison Circle Drive

  - Set speed limit sign, (we will mark location)

  - Remove black “ram-nek” from street surface at the storm sewer tie-in location at north end of Pergola.

- Quorum Drive

  - Seal redwood joint at Festival Way and patch the spalled areas in existing Quorum Drive pavement.

  - Remove board from behind pavers at the stop sign at Festival Way.  (match concrete retaining band ?)

  - Patch damaged light base first light west of Quorum on north side of FW.

- Utilities

  - Mount touch-pads from meters to vault lids.

  - Remove erosion controls from all grate inlets.

  - Either adjust grades at retention field clean-outs, or adjust clean-outs to grade.

  - Secure clean-out tops on retention fields so that lids are securely flush in their frames.

- Festival Way

  - Seal all unsealed expansion joints, i.e. at ADA ramps at The Grove entrance, 2nd E.J. east of The Grove ADA ramps, at Addison Rd., etc.

  - Broken joint at first E.J. east of The Grove ADA ramps.

  - Cracked sidewalk panel west of The Grove ADA ramps.

- General Notes

  - There are some black marks on the sidewalk at the northwest corner of The Bowl.

  - There are many tire tracks from the concrete work on the sidewalks throughout the park.

  - Seal the redwood at the top of the steps at the south end of the channel.

  - Seal the redwood joint at the north side of the sidewalk intersection at The Grove and The Lawn.

  - There is no redwood/expansion joint at the entrance to the Main Stage between the drive approach/sidewalk and the driveway to the dock.

  - There is much black sand, concrete chunks, large rocks, etc. around all the sidewalk repairs.

  - The area at the southeast corner of Addison Rd. and Festival Way was rutted up significantly during the sidewalk panel replacement.  Irrigation and grading needs to be restored here.