March 31, 2000

Mike Robbins

Post Properties

5040 Addison Circle Suite 300

Addison, TX  75001

RE:	Addison Circle Phase II,

Dear Mike:

In anticipation of the new construction starting at the northeast corner of Addison Circle Drive and Spectrum Drive, The Town of Addison has identified various issues in the following sections of roadway that have not as yet been addressed.  Please refer to letters dated February 18, 2000 and March 15, 2000.  The following list is intended for guidance and is not to be construed as all-inclusive.

North side of Addison Circle Drive from Dallas Parkway west to Spectrum Dr:

- Rout and seal crack in curb radius.

- Clean all concrete “spoil” off of curbs, pavers, and pavement .

- Seal redwood joint in pavement.

- Paver trip hazard at inlet.

- Rout and seal inlet curb returns.

- Rout and seal crack in pavement at west side of first parking bay.

- Address sliver spalling at joint from middle of 2nd parking bay across Addison Circle Drive.

- Birdbath at 4th parking bay.

- Rout and seal curb cuts with non-leveling sealer.

- Major concrete spoil at 5th parking bay.

- Birdbath at west end of 7th parking bay.

- Rout and seal pavement crack at 8th parking bay to center of Addison Circle Drive.

- Reseal joints where backer rod is exposed.

- Reseal improperly cleaned and sealed joints.

- Broken paver in soldier course west of ABA ramp (13th full paver).

1 of 2

Spectrum Drive from Addison Circle Drive to north end:

- Reset and seal new pavers.

- Damaged light poles (2nd and 3rd).

- Install silt fence at end of Spectrum and clean erosion off roadway.

- Birdbaths at east side of Spectrum at both Addison Circle Drive eastbound and westbound corners.

The Town of Addison understands that the new construction will be making cuts in the street and streetscape for their utility connections.  If the above items are addressed, the contractor for Amicus Partners, Ltd. can be responsible for future restorations.

Sincerely,

David E. Wilde, Public Works Inspector

Town of Addison

cc:	Robin Jones, Street Superintendent

Ron Lee, Parks Superintendent

Mike Murphy, Interim Public Works Director