DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER:  Cold & Clear with Light N Wind				REPOR	T NO.:

TIME ARRIVED:  8:00 AM						TEST DATE:  1-12-11

TIME DEPARTED:  5:00 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Roads crews are foreman by George, Arturo Gonzalez and Derek Dodson.  These crews consist of 15 people, 7 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued to weld the carrier pipes together.  These pipes will be installed under the bridge beams and decks to carry utilities across the creek for future development. Kleinfelder noticed that Gauntt Electric crews were working for Austin today.  This crew was working to install electrical conduits on the bridge panels and beams today.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT