DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Clear with light wind					REPOR	T NO.:

TIME ARRIVED:  8:15 AM						TEST DATE:  1-28-11

TIME DEPARTED:  5:00 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Roads crews are foreman by George, Arturo Gonzalez and Derek Dodson.  These crews consist of 15 people, 7 pieces of equipment, and numerous hand and power tools.  Austin’s first began setting reinforcing steel for the Ponte Bridge deck placement. Austin’s second continued working on the arch imbeds for Abutment # 1 on the Bella Lane Bridge.  This work included the fabrication of the metal support stands and anchoring them in place. This crew also began to strip form from Abutment # 4 on the Bella Lane Bridge.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT