DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Clear with Cool North wind					REPOR	T NO.:

TIME ARRIVED: 8:15 AM 						TEST DATE:  10-28-10

TIME DEPARTED:  5:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 4 pieces of equipment, and numerous hand and power tools.   Austin’s crew completed setting the wall forms for the South wing wall on Abutment # 1 of the Ponte Bridge.  Austin then began placing 70 cubic yards of concrete for the South Wing Wall of Abutment # 1 on the Ponte Bridge.  Although before the placement began Major Jones of Halff and Associates, Arturo Gonzalez of Austin Bridge and Road and Wade Geistweidt of Kleinfelder notices that Derek Dodson had ordered the wrong concrete mix for today’s placement.  There were two loads delivered to the site before Austin could stop the batch plant.  Halff rejected both of these loads of concrete and the placement did not begin until 11:30 AM.  Kleinfelder cast one set of 5 4X8 cylinders for this placement today.  Kleinfelder also attended the weekly progress meeting today.  Austin Bridge and Road also had Gauntt Electric crew installing electrical conduits in the bridge abutment wing wall.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT