DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with strong South wind with wind changing to the North		REPOR	T NO.:

TIME ARRIVED: 8:15 AM 								TEST DATE:  11-17-10

TIME DEPARTED:  5:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 6 people, 4 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued setting reinforcing steel for the cantilever wall on Abutment # 1 for the Ponte Bridge.  This work also included Austin continuing to set forms for the same wall.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT