DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate South wind						REPOR	T NO.:

TIME ARRIVED: 8:15 AM 								TEST DATE:  11-19-10

TIME DEPARTED:  5:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 6 people, 4 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued setting reinforcing steel and wall forms for the cantilever wall on Abutment # 1 for the Ponte Bridge.  Kleinfelder spoke with Arturo Gonzalez about the concrete placement for this wall today.  Arturo stated that this wall is scheduled to be placed on November 22, 2010 at 8 AM.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT