DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate North wind						REPOR	T NO.:

TIME ARRIVED: 8:15 AM 								TEST DATE:  11-30-10

TIME DEPARTED:  5:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 4 pieces of equipment, and numerous hand and power tools.  Austin’s crew was able to place concrete for the North support wall on Abutment # 2 on the Ponte Bridge today.  This concrete placement received 27 cubic yards from TXI today.  After this concrete placement was completed Austin continued to wreck the wall forms on Abutment # 1 for the Ponte Bridge.  Austin’s crew also continued to set wall forms for the North Wing wall on Abutment # 2 at the Ponte Bridge. Kleinfelder cast one set of 5 4X8 cylinders for this placement today.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT