DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate North wind						REPOR	T NO.:

TIME ARRIVED: 8:15 AM 								TEST DATE:  12-14-10

TIME DEPARTED: 5:00 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 5 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued to set forms and reinforcing steel for the stem wall cap on Abutment # 2.  Austin also had a crew working on the Bella Lane Bridge.  This crew continued to straighten the reinforcing steel on abutment # 4 of the Bella Lane Bridge.  Austin was also able to place backfill material between the North wing and support walls and South wing and support walls today on Abutment # 1.  Kleinfelder performed 3 nuclear field densities as these lifts were completed.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT