DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate North wind						REPOR	T NO.:

TIME ARRIVED: 8:00 AM 								TEST DATE:  12-17-10

TIME DEPARTED: 4:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 5 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued backfill operation of Abutment # 1 on the Ponte Bridge.  This crew also began to remove the dead men used to anchor the forms on the stem wall cap for Abutment # 2.  After the dead men were removed Austin began water proofing efforts on the lower portions of the stew wall. Austin also had a crew working on the Bella Lane Bridge.  This crew continued to set forms for the bent 3 column beam cap.  .  Kleinfelder performed 6 nuclear field densities today

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT