DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate South wind						REPOR	T NO.:

TIME ARRIVED: 7:30 AM 								TEST DATE:  12-21-10

TIME DEPARTED: 6:45 PM

PROGRESS REPORT:

Wade Geistweidt and Carey Tipps with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 6 pieces of equipment, and numerous hand and power tools.  Austin’s crew continued backfill operations of Abutment # 2 on the Ponte Bridge.  This crew also stripped the forms from the cap of Abutment # 2.  Austin helped Inlet Structure Specialties pour the manhole at Abutment # 2 today.    Kleinfelder performed 7 nuclear field densities.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT