DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt							REPORT DATE:

WEATHER: Clear with moderate North wind						REPOR	T NO.:

TIME ARRIVED: 8:15 AM 								TEST DATE:  12-3-10

TIME DEPARTED:  4:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crew is foreman by Derek Dodson and Arturo Gonzalez.  This crew consists of 15 people, 4 pieces of equipment, and numerous hand and power tools.  Austin’s crew placed 67 cubic yards for the North wing wall on Abutment # 2 for the Ponte Bridge.  Austin crew also began to place the granular backfill between the walls on Abutment # 1 for the Ponte Bridge.  Austin planned to place 2 feet of granular backfill material between these walls.  After the 2 feet of backfill was placed they would then dig the trench lines for the drainage pipe and pocket at this location.  Kleinfelder cast one set of 5 4X8 cylinders today for the placement on the North wing wall.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT