DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Cloudy with Lt Precipitation and Lt South wind		REPOR	T NO.:

TIME ARRIVED:  8:15 AM						TEST DATE:  3-29-11

TIME DEPARTED:  4:15 PM

PROGRESS REPORT:

Wade Geistweidt and David Hernandez with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crews are foreman by Arturo Gonzales, George, Juan Salazar and Derek Dodson. These crews consist of 20 people, 7 pieces of equipment, and numerous hand and power tools.  Austin first crew continued working to set the handrails on the Ponte Ave Bridge.  Austin’s second crew began layout of the handrails on the Bella Lane Bridge as well. Austin’s third crew continued setting forms for the wing wall caps on abutments # 1 and 4.  Austin Bridge and Road welding contractor Erwin Steel Works was onsite today.  This crew consists of 3 welders.  Erwin Steel Works began welding the side plates on the arches for the Bella Ln Bridge.  Kleinfelder had Ruiz Testing Service onsite today to perform X-Ray testing on the flange welds.  RTS completed X-Ray on 4 of the flange connections today.  David Hernandez will provide welding observations in his daily report.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT