DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Clear with moderate South wind				REPOR	T NO.:

TIME ARRIVED:  8:15 AM						TEST DATE:  4-4-11

TIME DEPARTED:  2:30 PM

PROGRESS REPORT:

Wade Geistweidt and David Hernandez with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crews are foreman by Arturo Gonzales.  This crew consists of 5 people, 7 pieces of equipment and numerous hand and power tools.  This crew was onsite to continue welding the hand rails to the steel embeds.  Kleinfelder had David Hernandez and Ruiz Testing Service onsite to perform X-Ray testing on the final arch flange connections.  Ruiz completed testing by 12:30 PM and returned to San Antonio.  The remainder of Austin’s crew did not show up for work today do to muddy conditions onsite.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT