DAILY REPORT SUMMARY

TO:	Town of Addison						PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive								Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Clear with North wind					REPOR	T NO.:

TIME ARRIVED:  8:15 AM						TEST DATE:  5-16-11

TIME DEPARTED:  5:20 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road crews are foreman by Arturo Gonzales, George, and Derek Dodson. These crews consist of 10 people, 7 pieces of equipment, and numerous hand and power tools.  Austin first crew continued working to level out the weld seams on the arches of the Ponte Bridge.  This crew replaced the decretive sidewalk on the right side of the Ponte Bridge today.  Kleinfelder and UDR performed visual inspections of the inside edge of the arches between the steel arch and the concrete for the abutment.  This inspection was to see if any paint had adhered to this area.  Kleinfelder and UDR could still see the green zinc primer at the abutment # 1 embeds however at the abutment # 2 embeds Kleinfelder found red paint at both locations.  Austin second crew also continued working to level out the weld seams on the arches of the Bella Lane Bridge.  This crew was working on punch list items for the Bella Lane Bridge today.  Austin had Scott Derr Painting onsite to apply the linseed oil sealer to the Bella Lane deck and apply the protective coating to the pedestrian bridge abutment walls.  There is a walk thru scheduled with Austin Bridge and Road, UDR, Kleinfelder, the Town of Addison and Halff and Associates on Tuesday May 17, 2011 at 2 PM.  Gauntt Electric was also installing light poles and fixtures at the Ponte Bridge today.  Gauntt was testing the lights to prepare for the walk thru.

COPIES TO:	Clay Barnett							KLEINFELDER

DRAFT