DAILY REPORT SUMMARY

TO:	Town of Addison			PROJECT:  Vitruvian Park - Addison, TX

16801 Westgrove Drive					Infrastructure Phase 1D

Addison, TX  75001-5190					PROJECT NO.: 99526 – 5

TECHNICIAN: Wade Geistweidt					REPORT DATE:

WEATHER: Clear with moderate South wind and HOT                REPORT NO.:

TIME ARRIVED:  7:00 AM					TEST DATE:  7-18-11

TIME DEPARTED:  8:30 PM

PROGRESS REPORT:

Wade Geistweidt with Kleinfelder continued observation of the Vitruvian Park Phase 1D project for the Town of Addison.  Austin Bridge and Road had a crew onsite today.  This crew was foreman by Andrew Harper, and George.  This crew consists of 4 people and numerous hand and power tools.  Austin was onsite to replace the concrete sidewalk that had been removed to install the drain line for the bird bath on the SE corner of the Bella Lane Bridge.  Austin placed about 3 cubic yards of concrete for this repair.  Kleinfelder cast one set of 5 4X8 cylinders for this placement.

COPIES TO:	Clay Barnett						KLEINFELDER

DRAFT