GENERAL NOTES

- All materials and workmanship shall conform to the Standard Specifications for Public Works Construction for North Central Texas (NCTCOG), latest edition, and the Town of Addison Department of Public Works and Transportation Addendum.

- During the construction of these improvements, any interpretation of the Standard Specifications for Public Works Construction for North Central Texas, and any matter which requires the approval of the owner, must be approved by the Director of Public Works and Transportation or his designee before any construction involving that decision commences.  Assumptions about what these decisions might be which are made during the bidding phase will have no bearing on the decision.

- Streets, alleys, sidewalks, driveways and storm drainage facilities in the public right of way shall be constructed in conformance with the Town of Addison Standard Construction Details.

- Contractor shall be responsible for removal and offsite disposal of removed pavement and other construction debris.

- In preparation of the plans and specifications, the engineer has endeavored to indicate the location of existing underground utilities.  It is not guaranteed that all major lines, structures or services have been shown or are accurate on the plans.  Prior to beginning of construction, the Contractor shall contact all utility companies for verification of existence and location of utility lines.

- The Contractor shall protect all structures, pipelines, walks, drives, trees, shrubbery, lawns and other improvements during the progress of the work and shall remove from the project and dispose of all debris and unused materials.

- The Contractor shall obtain all necessary permits and approvals for his work before beginning construction, and shall maintain a copy of these at the project site. The Contractor shall be responsible for payment of permit fees.

- The Contractor shall be responsible for complying with state laws and federal regulations relating to trench safety. The Contractor shall furnish to the City an acceptable trench safety plan signed and sealed by a Professional Engineer qualified to do such work and registered in the State of Texas.

- Contractor shall maintain traffic flow throughout construction on existing public streets and, if needed, shall submit a detour plan to the City of Coppell for approval prior to start of construction. Contractor shall submit a traffic control plan consistent with the T.M.U.T.C.D.

- Contractor shall seed or sod all disturbed areas upon completion of paving, unless specified differently in the landscape plans.